## Import
P084_MALDI_Target_Spotting_T0_Input_Sheet | [5 empty] | V0
Email adress for notifications |  |  | Step 1 | Fill out this input sheet by choosing the options on the left side. Save this file as .xls or .xlsx and be ready to provide the file at the beginning of the automated method.
Number of assay plates [1-16] | 4 |  | Step 2 | Book the Tecan T0 (Mario) robot in the IRIS booking system. Walk up to the robot and check if the liquid waste (below the robot) is less than 25% full and the system liquid is at least 75% full, such that enough liquid is available during the run. Start the script "P084_MALDI_Target_Spotting_T0". Follow the instructions on the screen and confirm loading of the different reagents and labware as follows.
Assay plate type | 384-well F-bottom plate |  | Step 3 | Load 4x 384-well F-bottom plate(s) with lid containing the MALDI samples onto the shelf at the back of the robot. Fill the shelf from top to bottom and left to right starting at D1 (D1, C1, B1, A1, D2, C2,…). The plate should be labelled with a barcode on their right side. They should be inserted into the shelf such that the barcode is visible to you.
Volume of MALDI matrix to add per well [0, 10 - 40 ul] | 30 |  | Step 4 | Load 4x MALDI target plates mounted inside 3D printed adapters into the shelf at the back of the robot. Make sure the MALDI plate is firmly pressed down into the adapter on all corners! Fill the shelf from top to bottom and left to right starting at D5 (D5, C5, B5, A5, D6, C6,…). Insert the plates into the shelf such that the barcode is visible to you.
Container to provide MALDI matrix | 50 ml Falcon tubes |  | Step 5 | Provide in total 64 ml of Matrix solution equally divided between 4x 50 ml Falcon tubes in positions T2A - T2D (grid 5).
Volume of sample-matrix-mix to spot [0.5 - 10 ul] | 3 |  | Step 6 | Place a 100ml trough (Tecan, REF10613048) filled with 70ml of cleaning solvent on position R5 (grid 9). The cleaning solvent is used to wash the tips after pipetting matrix solution or sample-matrix mixes. Choose an appropriate cleaning solvent for your matrix. Place a 384-well F-bottom plate filled with the appropriate amount of sample and matrix to act as a counter weight during centrifugation onto position P3 (grid 10). The plate should be provided WITHOUT lid. Please indicate if the counter weight plate is already sealed in the next window.
Distance of tip to MALDI target plate during spotting [0.1 - 0.5 mm] | 0.2 |  | Step 7 | Make sure that all other positions on the robot are free. The robot will now start spotting your samples onto the MALDI target plates. It will send you an email when an error occurs or when the script has finished. If you have any questions or problems during the run contact laf@bsse.ethz.ch.
Required volume of MALDI matrix [ml] | 64 |  | Step 8 | The robot has finished spotting your MALDI target plates. Remove all plates from the shelf at the back of the robot. Remove the tubes containing the MALDI matrix from their holders. Empty the liquid waste and fill up the system liquid container if necessary.
Seal sample plate after spotting | Enable
Measure OD600 of sample plates | Disable
Start time of script (added by robot)
Finishing time of script (added by robot)
Position of assay plate in shelf | Barcode of assay plate | Date and time of adding matrix to plate | Position of MALDI target plate in shelf | Barcode of MALDI target plate | Date and time of spotting
D1 |  |  | D5
C1 |  |  | C5
B1 |  |  | B5
A1 |  |  | A5
D2 |  |  | D6
C2 |  |  | C6
B2 |  |  | B6
A2 |  |  | A6
D3 |  |  | D7
C3 |  |  | C7
B3 |  |  | B7
A3 |  |  | A7
D4 |  |  | D8
C4 |  |  | C8
B4 |  |  | B8
A4 |  |  | A8

## Log
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty
empty

## Sheet1 (hidden)
... at beginning. | Enable | 1.5 ml Eppendorf tubes
... during the script. | Disable | 50 ml Falcon tubes
100 ml through (PP, Tecan REF 10613048)